## Slide 1: Commercial water treatment

## Slide 2: COMMERCAL QUIPMENTS FOR WATER TREATMENT
In commercial methods different types filtering models are used for the filtration process. These filtering models are mainly produced by different companies.
The topmost companies which produces the filters are:
KENT
HAVELLS MAX
LIVPURE
BLUE STAR
AQUAGUARD
PUREIT
AO SMITH
WATER DOCTOR- and so many

## Slide 3: Various equipment are
UV disinfection
Iron removal filters
Sand filters
Softeners
RO filters (Reverse osmosis ) filters
Sand filter
Activated carbon filter
Demineralization
Simple filter and so many equipment

## Slide 4: UV filters are a type of water filtration system that use ultraviolet light to purify water. They are commonly used in households, as well as in industrial and commercia settings to remove harmful microorganisms from the water supply.

## Slide 5: Sand filter

## Slide 6: Sand fiter
Rapid sand filter
Slow sand filter
Pressure sand filter

## Slide 8: Anthracite
coal of a hard variety that contains relatively pure carbon and burns with little flame and smoke

## Slide 9: Activated carbon filter
Activated Carbon Filter (ACF) works on the principle of adsorption, where contaminants are attracted to and stick to the porous surface of the activated carbon material as water passes through.

## Slide 10: Activated carbon filter cont.
ജലശുദ്ധീകരണ പ്രക്രിയയിൽ കാർബൺ ഫിൽട്ടറുകൾ നിർണായക പങ്ക് വഹിക്കുന്നു, കാരണം അവ വെള്ളത്തിൽ അടങ്ങിയിരിക്കാവുന്ന അനാവശ്യമായ എല്ലാ രാസവസ്തുക്കളെയും ക്ലോറിൻ, കീടനാശിനികൾ, മറ്റ് വോളറ്റൈൽ ഓർഗാനിക് സംയുക്തങ്ങൾ (VOC-കൾ) പോലുള്ള ജൈവ സംയുക്തങ്ങളെയും നീക്കം ചെയ്യുന്നു.

## Slide 11: Activated carbon filter contd
വെള്ളത്തിന്റെ രുചി മെച്ചപ്പെടുത്തുന്നതിനൊപ്പം, ദുർഗന്ധവും ദുർഗന്ധവും നീക്കം ചെയ്യുന്നതിലും ഇവ ഫലപ്രദമാണ്. വെള്ളം ഒരു കാർബൺ ഫിൽട്ടറിലൂടെ കടന്നുപോകുമ്പോൾ, സജീവമാക്കിയ കാർബൺ കണികകൾ ഈ മാലിന്യങ്ങളെല്ലാം ആഗിരണം ചെയ്യുന്നു, അതോടൊപ്പം മോശം രുചിയും ജൈവ സംയുക്തങ്ങളും ആഗിരണം ചെയ്യുന്നു.
RO-യ്ക്ക് മുമ്പും RO-യ്ക്ക് ശേഷവുമുള്ള ശുദ്ധീകരണ ഘട്ടങ്ങളിൽ കാർബൺ ഫിൽട്ടറുകൾ ഉപയോഗിക്കുന്നു. ഓരോന്നിന്റെയും പ്രാധാന്യവും ഗുണങ്ങളും നമുക്ക് മനസ്സിലാക്കാം.

## Slide 12: Activated carbon filter

## Slide 13: Iron remval medias
1.0 Manganese Dioxide
2.0 catalox
3.0 Purolite
4.0Berm Media
5.0 other suitable medias

## Slide 16: Properties of iron removal media and the process
Increasing the pH
Oxidation of ferrous iron to ferric iron
Fe2 +H2O+O2 gives Fe(OH)3 +H+
Filter to remove sediments
Efficiency for each media differs

## Slide 17: Reverse osmosis
Reverse osmosis is a water purification process that uses a semi-permeable membrane to remove contaminants by applying pressure to force water molecules from a high-concentration solution to a low-concentration solution, inverting the natural osmosis process. This method is used for desalination, producing high-quality drinking water, and other industrial applications

## Slide 18: Reverse osmosis
Reverse osmosis (RO) is a water purification process that uses a semi-permeable membrane to separate water molecules from other substances.

## Slide 19: Reverse Osmosis

## Slide 20: RO filter

## Slide 21: Major demerits of reverse osmosis
. The main disadvantages include
Significant water wastage,
The removal of beneficial minerals,
Ongoing maintenance costs.

## Slide 22: Hardness removal
Ion exchange removes water hardness by replacing hardness-causing ions, like calcium and magnesium, with other ions, typically sodium, as water passes through a resin bed.

## Slide 23: Hardness removing resins

## Slide 24: HARNESS REMOVAL

## Slide 25: Chemical reaction

## Slide 26: ReGeneration of the resin
This is achieved by treating the spent resin with a chemical regenerate solution, such as a strong acid for cation resins (e.g., HCl) and a strong base for anion resins (e.g., NaOH). After the regeneration, the resin is typically rinsed thoroughly and can be reused for many cycles

## Slide 27: Simple filters
Activated carbon, sand filter

## Slide 28: Filter

## Slide 30: Filter

## Slide 31: COMMERCIAL EQUIPMENT FOR WATER QUALITY ISSUES
Different types of equipments are available in the market
Some of these are given below
Pygmy Filter Pr. Sand Filter
50

## Slide 32: Hardness removal